## cost_matrix
| label | costs_total | costs_om_total | costs_investment_over_lifetime | costs_upfront_in_year_zero | costs_dispatch | costs_cost_om | annuity_total | annuity_om | levelized_cost_of_energy_of_asset
0 | ESS Li-Ion_storage_01 storage capacity | 1493002.1578 | 10596.5556 | 1482405.6022 | 1212394.56 | 0 | 10596.5556 | 128115.2874 | 909.2959 | 0.01318
0 | ESS Li-Ion_storage_01 input power | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | ESS Li-Ion_storage_01 output power | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | solar_inverter_01 | 11389859.9946 | 4143744.1647 | 7246115.8299 | 5926280.5 | 0 | 4143744.1647 | 977369.7772 | 355576.83 | 0.01182
0 | storage_charge_controller_in | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | storage_charge_controller_out | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | DSO_consumption_period | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | pv_plant_01 | 92481975.338 | 29403575.2753 | 63078400.0627 | 63078400.0627 | 0 | 29403575.2753 | 7935926.1374 | 2523136.0025 | 0.0907
0 | DSO_consumption_source | 292442917.9049 | 292442917.9049 | 0 | 0 | 292442917.9049 | 0 | 25094678.0429 | 25094678.0429 | 0.2165
0 | demand_01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | PV bus_bus_excess_sink | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | Electricity_bus_excess_sink | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | ESS Li-Ion_bus_excess_sink | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | DSO_feedin_sink_sink | -25463756.3006 | -25463756.3006 | 0 | 0 | -25463756.3006 | 0 | -2185058.0985 | -2185058.0985 | -0.1

## scalar_matrix
| label | unit | installedCap | optimizedAddCap | total_flow | annual_total_flow | peak_flow | average_flow
0 | ESS Li-Ion_storage_01 storage capacity | kWh | 0 | 6061.9728 | 9717402.1277 | 9717402.1277 | 5455.7756 | 1109.2925
0 | ESS Li-Ion_storage_01 input power | kW | 0 | 6061.9728 | 1399944.2914 | 1399944.2914 | 5104.8192 | 159.811
0 | ESS Li-Ion_storage_01 output power | kW | 0 | 6061.9728 | 1263449.736 | 1263449.736 | 4607.0994 | 144.2294
0 | solar_inverter_01 | kW | 0 | 59262.805 | 82671414.4796 | 82671414.4796 | 59262.805 | 9437.3761
0 | storage_charge_controller_in | kW | 0 | 5104.8192 | 1399944.2914 | 1399944.2914 | 5104.8192 | 159.811
0 | storage_charge_controller_out | kW | 0 | 4607.0994 | 1263449.736 | 1263449.736 | 4607.0994 | 144.2294
0 | DSO_consumption_period | ? | 0 | 37156.748 | 115910753.0852 | 115910753.0852 | 37156.748 | 13231.8211
0 | pv_plant_01 | kWp | 0 | 63078.4001 | 87495536.7898 | 87495536.7898 | 70681.232 | 9988.075
0 | DSO_consumption_source | ? | 0 | 37156.748 | 115910753.0852 | 115910753.0852 | 37156.748 | 13231.8211
0 | demand_01 | kW | 0 | 0 | 176595091.7552 | 176595091.7552 | 37156.7485 | 20159.2571
0 | PV bus_bus_excess_sink | ? | 0 | 8299.3324 | 472995.3477 | 472995.3477 | 8299.3324 | 53.9949
0 | Electricity_bus_excess_sink | ? | 0 | 0 | 0 | 0 | 0 | 0
0 | ESS Li-Ion_bus_excess_sink | ? | 0 | 0 | 0 | 0 | 0 | 0
0 | DSO_feedin_sink_sink | ? | 0 | 38339.587 | 21850580.9853 | 21850580.9853 | 38339.587 | 2494.3586

## scalars
| 0 | unit
Attributed costsElectricity | 372343999.0947 | EUR
Degree of autonomy | 0.49546 | EUR
Levelized costs of electricity equivalent | 0.18093 | EUR
Levelized costs of electricity equivalentElectricity | 0.18093 | EUR
Onsite energy fraction | 0.75027 | EUR
Onsite energy matching | 0.36905 | EUR
Renewable_share | 0.48714 | EUR/year
Total internal generation | 87495536.7898 | EUR/year
Total internal non-renewable generation | 0 | NA
Total internal renewable generation | 87495536.7898 | NA
Total non-renewable energy use | 104319677.7766 | NA
Total renewable energy use | 99086612.0983 | NA
Total_demandElectricity | 176595091.7552 | NA
Total_demandElectricity_electricity_equivalent | 176595091.7552 | NA
Total_demand_electricity_equivalent | 176595091.7552 | NA
Total_excessElectricity | 472995.3477 | NA
Total_excessElectricity_electricity_equivalent | 472995.3477 | NA
Total_excess_electricity_equivalent | 472995.3477 | NA
Total_feedinElectricity | 21850580.9853 | NA
Total_feedinElectricity_electricity_equivalent | 21850580.9853 | NA
Total_feedin_electricity_equivalent | 21850580.9853 | NA
annuity_om | 25789242.0728 | NA
annuity_total | 31951031.1463 | NA
costs_cost_om | 33557915.9956 | NA
costs_dispatch | 266979161.6043 | NA
costs_investment_over_lifetime | 71806921.4948 | NA
costs_om_total | 300537077.5999 | NA
costs_total | 372343999.0947 | NA
costs_upfront_in_year_zero | 70217075.1227 | NA

## KPI individual sectors
| Renewable_share | Total internal non-renewable generation | Total internal renewable generation | Total non-renewable energy use | Total renewable energy use
0 | {'Electricity': 0.48713642119527534} | {'Electricity': 0} | {'Electricity': 87495536.78976393} | {'Electricity': 104319677.77664568} | {'Electricity': 99086612.09828012}