## cost_matrix
| label | costs_total | costs_om_total | costs_investment_over_lifetime | costs_upfront_in_year_zero | costs_dispatch | costs_cost_om | annuity_total | annuity_om | levelized_cost_of_energy_of_asset
0 | ESS Li-Ion_storage_01 storage capacity | 17431754.9497 | 123721.5634 | 17308033.3863 | 14155481.8 | 0 | 123721.5634 | 1495827.9083 | 10616.6113 | 0.00902
0 | ESS Li-Ion_storage_01 input power | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | ESS Li-Ion_storage_01 output power | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | solar_inverter_01 | 11389859.9946 | 4143744.1647 | 7246115.8299 | 5926280.5 | 0 | 4143744.1647 | 977369.7772 | 355576.83 | 0.01182
0 | storage_charge_controller_in | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | storage_charge_controller_out | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | DSO_consumption_period | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | pv_plant_01 | 92481975.338 | 29403575.2753 | 63078400.0627 | 63078400.0627 | 0 | 29403575.2753 | 7935926.1374 | 2523136.0025 | 0.0907
0 | DSO_consumption_source | 59978055.6843 | 59978055.6843 | 0 | 0 | 59978055.6843 | 0 | 5146747.9802 | 5146747.9802 | 0.2165
0 | demand_01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | PV bus_bus_excess_sink | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | Electricity_bus_excess_sink | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | ESS Li-Ion_bus_excess_sink | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | DSO_feedin_sink_sink | -39742919.3324 | -39742919.3324 | 0 | 0 | -39742919.3324 | 0 | -3410360.4638 | -3410360.4638 | -0.1

## scalar_matrix
| label | unit | installedCap | optimizedAddCap | total_flow | annual_total_flow | peak_flow | average_flow
0 | ESS Li-Ion_storage_01 storage capacity | kWh | 0 | 70777.409 | 165766582.004 | 165766582.004 | 63699.668 | 18923.1258
0 | ESS Li-Ion_storage_01 input power | kW | 0 | 70777.409 | 17459293.016 | 17459293.016 | 38652.277 | 1993.07
0 | ESS Li-Ion_storage_01 output power | kW | 0 | 70777.409 | 15757011.9263 | 15757011.9263 | 14862.699 | 1798.7457
0 | solar_inverter_01 | kW | 0 | 59262.805 | 82671414.4796 | 82671414.4796 | 59262.805 | 9437.3761
0 | storage_charge_controller_in | kW | 0 | 38652.277 | 17459293.016 | 17459293.016 | 38652.277 | 1993.07
0 | storage_charge_controller_out | kW | 0 | 14862.699 | 15757011.9263 | 15757011.9263 | 14862.699 | 1798.7457
0 | DSO_consumption_period | ? | 0 | 14862.699 | 23772507.9915 | 23772507.9915 | 14862.699 | 2713.7566
0 | pv_plant_01 | kWp | 0 | 63078.4001 | 87495536.7898 | 87495536.7898 | 70681.232 | 9988.075
0 | DSO_consumption_source | ? | 0 | 14862.699 | 23772507.9915 | 23772507.9915 | 14862.699 | 2713.7566
0 | demand_01 | kW | 0 | 0 | 70638036.7021 | 70638036.7021 | 14862.6994 | 8063.7028
0 | PV bus_bus_excess_sink | ? | 0 | 8299.3324 | 472995.3477 | 472995.3477 | 8299.3324 | 53.9949
0 | Electricity_bus_excess_sink | ? | 0 | 0 | 0 | 0 | 0 | 0
0 | ESS Li-Ion_bus_excess_sink | ? | 0 | 0 | 0 | 0 | 0 | 0
0 | DSO_feedin_sink_sink | ? | 0 | 50893.517 | 34103604.6377 | 34103604.6377 | 50893.517 | 3893.1056

## scalars
| 0 | unit
Attributed costsElectricity | 141538726.6342 | EUR
Degree of autonomy | 1.2386 | EUR
Levelized costs of electricity equivalent | 0.17194 | EUR
Levelized costs of electricity equivalentElectricity | 0.17194 | EUR
Onsite energy fraction | 0.61022 | EUR
Onsite energy matching | 0.74916 | EUR
Renewable_share | 0.80771 | EUR/year
Total internal generation | 87495536.7898 | EUR/year
Total internal non-renewable generation | 0 | NA
Total internal renewable generation | 87495536.7898 | NA
Total non-renewable energy use | 21395257.1923 | NA
Total renewable energy use | 89872787.5889 | NA
Total_demandElectricity | 70638036.7021 | NA
Total_demandElectricity_electricity_equivalent | 70638036.7021 | NA
Total_demand_electricity_equivalent | 70638036.7021 | NA
Total_excessElectricity | 472995.3477 | NA
Total_excessElectricity_electricity_equivalent | 472995.3477 | NA
Total_excess_electricity_equivalent | 472995.3477 | NA
Total_feedinElectricity | 34103604.6377 | NA
Total_feedinElectricity_electricity_equivalent | 34103604.6377 | NA
Total_feedin_electricity_equivalent | 34103604.6377 | NA
annuity_om | 4625716.9602 | NA
annuity_total | 12145511.3392 | NA
costs_cost_om | 33671041.0034 | NA
costs_dispatch | 20235136.3519 | NA
costs_investment_over_lifetime | 87632549.2789 | NA
costs_om_total | 53906177.3552 | NA
costs_total | 141538726.6342 | NA
costs_upfront_in_year_zero | 83160162.3627 | NA

## KPI individual sectors
| Renewable_share | Total internal non-renewable generation | Total internal renewable generation | Total non-renewable energy use | Total renewable energy use
0 | {'Electricity': 0.8077142702165786} | {'Electricity': 0} | {'Electricity': 87495536.78976393} | {'Electricity': 21395257.192336958} | {'Electricity': 89872787.58891247}