## cost_matrix
| label | costs_total | costs_om_total | costs_investment_over_lifetime | costs_upfront_in_year_zero | costs_dispatch | costs_cost_om | annuity_total | annuity_om | levelized_cost_of_energy_of_asset
0 | ESS Li-Ion_storage_01 storage capacity | 167948.3102 | 1192.0101 | 166756.3001 | 136382.668 | 0 | 1192.0101 | 14411.7314 | 102.287 | 0.01791
0 | ESS Li-Ion_storage_01 input power | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | ESS Li-Ion_storage_01 output power | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | solar_inverter_01 | 11389859.9946 | 4143744.1647 | 7246115.8299 | 5926280.5 | 0 | 4143744.1647 | 977369.7772 | 355576.83 | 0.01182
0 | storage_charge_controller_in | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | storage_charge_controller_out | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | DSO_consumption_period | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | pv_plant_01 | 92481975.338 | 29403575.2753 | 63078400.0627 | 63078400.0627 | 0 | 29403575.2753 | 7935926.1374 | 2523136.0025 | 0.0907
0 | DSO_consumption_source | 367478596.7058 | 367478596.7058 | 0 | 0 | 367478596.7058 | 0 | 31533528.4508 | 31533528.4508 | 0.2165
0 | demand_01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | PV bus_bus_excess_sink | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | Electricity_bus_excess_sink | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | ESS Li-Ion_bus_excess_sink | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | DSO_feedin_sink_sink | -19104707.9533 | -19104707.9533 | 0 | 0 | -19104707.9533 | 0 | -1639384.8708 | -1639384.8708 | -0.1

## scalar_matrix
| label | unit | installedCap | optimizedAddCap | total_flow | annual_total_flow | peak_flow | average_flow
0 | ESS Li-Ion_storage_01 storage capacity | kWh | 0 | 681.9133 | 804594.3936 | 804594.3936 | 613.722 | 91.8487
0 | ESS Li-Ion_storage_01 input power | kW | 0 | 681.9133 | 152379.9556 | 152379.9556 | 574.2428 | 17.395
0 | ESS Li-Ion_storage_01 output power | kW | 0 | 681.9133 | 137522.911 | 137522.911 | 518.2541 | 15.699
0 | solar_inverter_01 | kW | 0 | 59262.805 | 82671414.4796 | 82671414.4796 | 59262.805 | 9437.3761
0 | storage_charge_controller_in | kW | 0 | 574.2428 | 152379.9556 | 152379.9556 | 574.2428 | 17.395
0 | storage_charge_controller_out | kW | 0 | 518.2541 | 137522.911 | 137522.911 | 518.2541 | 15.699
0 | DSO_consumption_period | ? | 0 | 44588.098 | 145651401.6206 | 145651401.6206 | 44588.098 | 16626.8723
0 | pv_plant_01 | kWp | 0 | 63078.4001 | 87495536.7898 | 87495536.7898 | 70681.232 | 9988.075
0 | DSO_consumption_source | ? | 0 | 44588.098 | 145651401.6206 | 145651401.6206 | 44588.098 | 16626.8723
0 | demand_01 | kW | 0 | 0 | 211914110.1062 | 211914110.1062 | 44588.0982 | 24191.1085
0 | PV bus_bus_excess_sink | ? | 0 | 8299.3324 | 472995.3477 | 472995.3477 | 8299.3324 | 53.9949
0 | Electricity_bus_excess_sink | ? | 0 | 0 | 0 | 0 | 0 | 0
0 | ESS Li-Ion_bus_excess_sink | ? | 0 | 0 | 0 | 0 | 0 | 0
0 | DSO_feedin_sink_sink | ? | 0 | 34154.943 | 16393848.7082 | 16393848.7082 | 34154.943 | 1871.4439

## scalars
| 0 | unit
Attributed costsElectricity | 452413672.3953 | EUR
Degree of autonomy | 0.41288 | EUR
Levelized costs of electricity equivalent | 0.1832 | EUR
Levelized costs of electricity equivalentElectricity | 0.1832 | EUR
Onsite energy fraction | 0.81263 | EUR
Onsite energy matching | 0.33329 | EUR
Renewable_share | 0.43775 | EUR/year
Total internal generation | 87495536.7898 | EUR/year
Total internal non-renewable generation | 0 | NA
Total internal renewable generation | 87495536.7898 | NA
Total non-renewable energy use | 131086261.4585 | NA
Total renewable energy use | 102060676.9518 | NA
Total_demandElectricity | 211914110.1062 | NA
Total_demandElectricity_electricity_equivalent | 211914110.1062 | NA
Total_demand_electricity_equivalent | 211914110.1062 | NA
Total_excessElectricity | 472995.3477 | NA
Total_excessElectricity_electricity_equivalent | 472995.3477 | NA
Total_excess_electricity_equivalent | 472995.3477 | NA
Total_feedinElectricity | 16393848.7082 | NA
Total_feedinElectricity_electricity_equivalent | 16393848.7082 | NA
Total_feedin_electricity_equivalent | 16393848.7082 | NA
annuity_om | 32772958.6995 | NA
annuity_total | 38821851.2259 | NA
costs_cost_om | 33548511.45 | NA
costs_dispatch | 348373888.7526 | NA
costs_investment_over_lifetime | 70491272.1927 | NA
costs_om_total | 381922400.2026 | NA
costs_total | 452413672.3953 | NA
costs_upfront_in_year_zero | 69141063.2307 | NA

## KPI individual sectors
| Renewable_share | Total internal non-renewable generation | Total internal renewable generation | Total non-renewable energy use | Total renewable energy use
0 | {'Electricity': 0.4377525934833322} | {'Electricity': 0} | {'Electricity': 87495536.78976393} | {'Electricity': 131086261.45850909} | {'Electricity': 102060676.9518205}