## cost_matrix
| label | costs_total | costs_om_total | costs_investment_over_lifetime | costs_upfront_in_year_zero | costs_dispatch | costs_cost_om | annuity_total | annuity_om | levelized_cost_of_energy_of_asset
0 | ESS Li-Ion storage capacity | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | ESS Li-Ion input power | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | ESS Li-Ion output power | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | Charge Contoller ESS Li-Ion (charge) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | Charge Contoller ESS Li-Ion (discharge) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | Solar inverter | 4759297.8037 | 1228189.6837 | 3531108.12 | 2634789.8 | 0 | 1228189.6837 | 408397.8061 | 105391.592 | 0.01106
0 | DSO_consumption_period | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | pv_plant_01 | 50958911.144 | 19564540.5751 | 31394370.5689 | 31394370.5689 | 0 | 19564540.5751 | 4372810.5223 | 1678843.3459 | 0.11215
0 | DSO_consumption_source | 793552534.9435 | 793552534.9435 | 0 | 0 | 793552534.9435 | 0 | 68095153.4653 | 68095153.4653 | 0.2165
0 | Electricity demand | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | ESS Li-Ion bus_excess_sink | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | Electricity bus_excess_sink | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | PV bus_excess_sink | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | DSO_feedin_sink_sink | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## scalar_matrix
| label | unit | installedCap | optimizedAddCap | total_flow | annual_total_flow | peak_flow | average_flow
0 | ESS Li-Ion storage capacity | kWh | 0 | 0 | 0 | 0 | 0 | 0
0 | ESS Li-Ion input power | kW | 0 | 0 | 0 | 0 | 0 | 0
0 | ESS Li-Ion output power | kW | 0 | 0 | 0 | 0 | 0 | 0
0 | Charge Contoller ESS Li-Ion (charge) | kW | 0 | 0 | 0 | 0 | 0 | 0
0 | Charge Contoller ESS Li-Ion (discharge) | kW | 0 | 0 | 0 | 0 | 0 | 0
0 | Solar inverter | kW | 0 | 26347.898 | 36935143.3861 | 36935143.3861 | 26347.898 | 4216.3406
0 | DSO_consumption_period | ? | 0 | 73917.847 | 314527267.738 | 314527267.738 | 73917.847 | 35904.9392
0 | pv_plant_01 | kWp | 0 | 33576.8669 | 38990605.921 | 38990605.921 | 32791.975 | 4450.9824
0 | DSO_consumption_source | ? | 0 | 73917.847 | 314527267.738 | 314527267.738 | 73917.847 | 35904.9392
0 | Electricity demand | kW | 0 | 0 | 351462411.2435 | 351462411.2435 | 73917.8466 | 40121.2798
0 | ESS Li-Ion bus_excess_sink | ? | 0 | 0 | 0 | 0 | 0 | 0
0 | Electricity bus_excess_sink | ? | 0 | 0 | 0 | 0 | 0 | 0
0 | PV bus_excess_sink | ? | 0 | 5057.3459 | 111507.6285 | 111507.6285 | 5057.3459 | 12.7292
0 | DSO_feedin_sink_sink | ? | 0 | 0 | 0 | 0 | 0 | 0

## scalars
| 0 | unit
Attributed costsElectricity | 849270743.8912 | EUR
Degree of autonomy | 0.11094 | EUR
Levelized costs of electricity equivalent | 0.20735 | EUR
Levelized costs of electricity equivalentElectricity | 0.20735 | EUR
Onsite energy fraction | 1 | EUR
Onsite energy matching | 0.11062 | EUR
Renewable factor | 0.19926 | EUR/year
Renewable share of local generation | 1 | EUR/year
Total internal generation | 38990605.921 | NA
Total internal non-renewable generation | 0 | NA
Total internal renewable generation | 38990605.921 | NA
Total non-renewable energy use | 283074540.9642 | NA
Total renewable energy use | 70443332.6948 | NA
Total_demandElectricity | 351462411.2435 | NA
Total_demandElectricity_electricity_equivalent | 351462411.2435 | NA
Total_demand_electricity_equivalent | 351462411.2435 | NA
Total_excessElectricity | 111507.6284 | NA
Total_excessElectricity_electricity_equivalent | 111507.6284 | NA
Total_excess_electricity_equivalent | 111507.6284 | NA
Total_feedinElectricity | 0 | NA
Total_feedinElectricity_electricity_equivalent | 0 | NA
Total_feedin_electricity_equivalent | 0 | NA
annuity_om | 69879388.4032 | NA
annuity_total | 72876361.7937 | NA
costs_cost_om | 20792730.2587 | NA
costs_dispatch | 793552534.9435 | NA
costs_investment_over_lifetime | 34925478.6889 | NA
costs_om_total | 814345265.2023 | NA
costs_total | 849270743.8912 | NA
costs_upfront_in_year_zero | 34029160.3689 | NA

## KPI individual sectors
| Renewable factor | Renewable share of local generation | Total internal non-renewable generation | Total internal non-renewable generation_electricity_equivalent | Total internal renewable generation | Total internal renewable generation_electricity_equivalent | Total non-renewable energy use | Total non-renewable energy use_electricity_equivalent | Total renewable energy use | Total renewable energy use_electricity_equivalent
0 | {'Electricity': 0.19926385041205674} | {'Electricity': 1.0} | {'Electricity': 0} | {'Electricity': 0} | {'Electricity': 38990605.920968905} | {'Electricity': 38990605.920968905} | {'Electricity': 283074540.96419764} | {'Electricity': 283074540.96419764} | {'Electricity': 70443332.69476864} | {'Electricity': 70443332.69476864}