## cost_matrix
| label | costs_total | costs_om_total | costs_investment_over_lifetime | costs_upfront_in_year_zero | costs_dispatch | costs_cost_om | annuity_total | annuity_om | levelized_cost_of_energy_of_asset
0 | ESS Li-Ion_storage_01 storage capacity | 10446880.2435 | 74146.5424 | 10372733.7012 | 8483404.2 | 0 | 74146.5424 | 896452.197 | 6362.5531 | 0.01149
0 | ESS Li-Ion_storage_01 input power | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | ESS Li-Ion_storage_01 output power | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | solar_inverter_01 | 11389859.9946 | 4143744.1647 | 7246115.8299 | 5926280.5 | 0 | 4143744.1647 | 977369.7772 | 355576.83 | 0.01182
0 | storage_charge_controller_in | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | storage_charge_controller_out | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | DSO_consumption_period | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | pv_plant_01 | 92481975.338 | 29403575.2753 | 63078400.0627 | 63078400.0627 | 0 | 29403575.2753 | 7935926.1374 | 2523136.0025 | 0.0907
0 | DSO_consumption_source | 137470272.5419 | 137470272.5419 | 0 | 0 | 137470272.5419 | 0 | 11796395.1893 | 11796395.1893 | 0.2165
0 | demand_01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | PV bus_bus_excess_sink | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | Electricity_bus_excess_sink | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | ESS Li-Ion_bus_excess_sink | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | DSO_feedin_sink_sink | -35202723.2055 | -35202723.2055 | 0 | 0 | -35202723.2055 | 0 | -3020763.8858 | -3020763.8858 | -0.1

## scalar_matrix
| label | unit | installedCap | optimizedAddCap | total_flow | annual_total_flow | peak_flow | average_flow
0 | ESS Li-Ion_storage_01 storage capacity | kWh | 0 | 42417.021 | 78024055.7232 | 78024055.7232 | 38175.319 | 8906.8557
0 | ESS Li-Ion_storage_01 input power | kW | 0 | 42417.021 | 10190095.2339 | 10190095.2339 | 35719.597 | 1163.2529
0 | ESS Li-Ion_storage_01 output power | kW | 0 | 42417.021 | 9196560.9646 | 9196560.9646 | 18523.351 | 1049.8357
0 | solar_inverter_01 | kW | 0 | 59262.805 | 82671414.4796 | 82671414.4796 | 59262.805 | 9437.3761
0 | storage_charge_controller_in | kW | 0 | 35719.597 | 10190095.2339 | 10190095.2339 | 35719.597 | 1163.2529
0 | storage_charge_controller_out | kW | 0 | 18523.351 | 9196560.9646 | 9196560.9646 | 18523.351 | 1049.8357
0 | DSO_consumption_period | ? | 0 | 22294.049 | 54486813.8073 | 54486813.8073 | 22294.049 | 6219.9559
0 | pv_plant_01 | kWp | 0 | 63078.4001 | 87495536.7898 | 87495536.7898 | 70681.232 | 9988.075
0 | DSO_consumption_source | ? | 0 | 22294.049 | 54486813.8073 | 54486813.8073 | 22294.049 | 6219.9559
0 | demand_01 | kW | 0 | 0 | 105957055.0531 | 105957055.0531 | 22294.0491 | 12095.5542
0 | PV bus_bus_excess_sink | ? | 0 | 8299.3324 | 472995.3477 | 472995.3477 | 8299.3324 | 53.9949
0 | Electricity_bus_excess_sink | ? | 0 | 0 | 0 | 0 | 0 | 0
0 | ESS Li-Ion_bus_excess_sink | ? | 0 | 0 | 0 | 0 | 0 | 0
0 | DSO_feedin_sink_sink | ? | 0 | 46708.874 | 30207638.8584 | 30207638.8584 | 46708.874 | 3448.3606

## scalars
| 0 | unit
Attributed costsElectricity | 216586264.9125 | EUR
Degree of autonomy | 0.82576 | EUR
Levelized costs of electricity equivalent | 0.1754 | EUR
Levelized costs of electricity equivalentElectricity | 0.1754 | EUR
Onsite energy fraction | 0.65475 | EUR
Onsite energy matching | 0.53621 | EUR
Renewable_share | 0.65462 | EUR/year
Total internal generation | 87495536.7898 | EUR/year
Total internal non-renewable generation | 0 | NA
Total internal renewable generation | 87495536.7898 | NA
Total non-renewable energy use | 49038132.4266 | NA
Total renewable energy use | 92944218.1705 | NA
Total_demandElectricity | 105957055.0531 | NA
Total_demandElectricity_electricity_equivalent | 105957055.0531 | NA
Total_demand_electricity_equivalent | 105957055.0531 | NA
Total_excessElectricity | 472995.3477 | NA
Total_excessElectricity_electricity_equivalent | 472995.3477 | NA
Total_excess_electricity_equivalent | 472995.3477 | NA
Total_feedinElectricity | 30207638.8584 | NA
Total_feedinElectricity_electricity_equivalent | 30207638.8584 | NA
Total_feedin_electricity_equivalent | 30207638.8584 | NA
annuity_om | 11660706.6891 | NA
annuity_total | 18585379.415 | NA
costs_cost_om | 33621465.9823 | NA
costs_dispatch | 102267549.3364 | NA
costs_investment_over_lifetime | 80697249.5938 | NA
costs_om_total | 135889015.3187 | NA
costs_total | 216586264.9125 | NA
costs_upfront_in_year_zero | 77488084.7627 | NA

## KPI individual sectors
| Renewable_share | Total internal non-renewable generation | Total internal renewable generation | Total non-renewable energy use | Total renewable energy use
0 | {'Electricity': 0.6546181111921606} | {'Electricity': 0} | {'Electricity': 87495536.78976393} | {'Electricity': 49038132.426603764} | {'Electricity': 92944218.17049769}