## cost_matrix
| label | costs_total | costs_om_total | costs_investment_over_lifetime | costs_upfront_in_year_zero | costs_dispatch | costs_cost_om | annuity_total | annuity_om | levelized_cost_of_energy_of_asset
0 | ESS Li-Ion_storage_01 storage capacity | 5062720.8708 | 35932.5692 | 5026788.3016 | 4111189.8 | 0 | 35932.5692 | 434434.6965 | 3083.3924 | 0.013
0 | ESS Li-Ion_storage_01 input power | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | ESS Li-Ion_storage_01 output power | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | solar_inverter_01 | 11389859.9946 | 4143744.1647 | 7246115.8299 | 5926280.5 | 0 | 4143744.1647 | 977369.7772 | 355576.83 | 0.01182
0 | storage_charge_controller_in | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | storage_charge_controller_out | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | DSO_consumption_period | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | pv_plant_01 | 92481975.338 | 29403575.2753 | 63078400.0627 | 63078400.0627 | 0 | 29403575.2753 | 7935926.1374 | 2523136.0025 | 0.0907
0 | DSO_consumption_source | 215410501.6822 | 215410501.6822 | 0 | 0 | 215410501.6822 | 0 | 18484486.5641 | 18484486.5641 | 0.2165
0 | demand_01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | PV bus_bus_excess_sink | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | Electricity_bus_excess_sink | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | ESS Li-Ion_bus_excess_sink | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | DSO_feedin_sink_sink | -30651599.0602 | -30651599.0602 | 0 | 0 | -30651599.0602 | 0 | -2630229.569 | -2630229.569 | -0.1

## scalar_matrix
| label | unit | installedCap | optimizedAddCap | total_flow | annual_total_flow | peak_flow | average_flow
0 | ESS Li-Ion_storage_01 storage capacity | kWh | 0 | 20555.949 | 33421882.5465 | 33421882.5465 | 18500.354 | 3815.2834
0 | ESS Li-Ion_storage_01 input power | kW | 0 | 20555.949 | 4838319.1567 | 4838319.1567 | 17310.273 | 552.3195
0 | ESS Li-Ion_storage_01 output power | kW | 0 | 20555.949 | 4366583.038 | 4366583.038 | 15622.521 | 498.4684
0 | solar_inverter_01 | kW | 0 | 59262.805 | 82671414.4796 | 82671414.4796 | 59262.805 | 9437.3761
0 | storage_charge_controller_in | kW | 0 | 17310.273 | 4838319.1567 | 4838319.1567 | 17310.273 | 552.3195
0 | storage_charge_controller_out | kW | 0 | 15622.521 | 4366583.038 | 4366583.038 | 15622.521 | 498.4684
0 | DSO_consumption_period | ? | 0 | 29725.399 | 85378690.8273 | 85378690.8273 | 29725.399 | 9746.4259
0 | pv_plant_01 | kWp | 0 | 63078.4001 | 87495536.7898 | 87495536.7898 | 70681.232 | 9988.075
0 | DSO_consumption_source | ? | 0 | 29725.399 | 85378690.8273 | 85378690.8273 | 29725.399 | 9746.4259
0 | demand_01 | kW | 0 | 0 | 141276073.4041 | 141276073.4041 | 29725.3988 | 16127.4056
0 | PV bus_bus_excess_sink | ? | 0 | 8299.3324 | 472995.3477 | 472995.3477 | 8299.3324 | 53.9949
0 | Electricity_bus_excess_sink | ? | 0 | 0 | 0 | 0 | 0 | 0
0 | ESS Li-Ion_bus_excess_sink | ? | 0 | 0 | 0 | 0 | 0 | 0
0 | DSO_feedin_sink_sink | ? | 0 | 42524.23 | 26302295.69 | 26302295.69 | 42524.23 | 3002.5452

## scalars
| 0 | unit
Attributed costsElectricity | 293693458.8253 | EUR
Degree of autonomy | 0.61932 | EUR
Levelized costs of electricity equivalent | 0.17839 | EUR
Levelized costs of electricity equivalentElectricity | 0.17839 | EUR
Onsite energy fraction | 0.69939 | EUR
Onsite energy matching | 0.4298 | EUR
Renewable_share | 0.55551 | EUR/year
Total internal generation | 87495536.7898 | EUR/year
Total internal non-renewable generation | 0 | NA
Total internal renewable generation | 87495536.7898 | NA
Total non-renewable energy use | 76840821.7446 | NA
Total renewable energy use | 96033405.8725 | NA
Total_demandElectricity | 141276073.4041 | NA
Total_demandElectricity_electricity_equivalent | 141276073.4041 | NA
Total_demand_electricity_equivalent | 141276073.4041 | NA
Total_excessElectricity | 472995.3477 | NA
Total_excessElectricity_electricity_equivalent | 472995.3477 | NA
Total_excess_electricity_equivalent | 472995.3477 | NA
Total_feedinElectricity | 26302295.69 | NA
Total_feedinElectricity_electricity_equivalent | 26302295.69 | NA
Total_feedin_electricity_equivalent | 26302295.69 | NA
annuity_om | 18736053.22 | NA
annuity_total | 25201987.6061 | NA
costs_cost_om | 33583252.0092 | NA
costs_dispatch | 184758902.6219 | NA
costs_investment_over_lifetime | 75351304.1942 | NA
costs_om_total | 218342154.6311 | NA
costs_total | 293693458.8253 | NA
costs_upfront_in_year_zero | 73115870.3627 | NA

## KPI individual sectors
| Renewable_share | Total internal non-renewable generation | Total internal renewable generation | Total non-renewable energy use | Total renewable energy use
0 | {'Electricity': 0.5555102527209431} | {'Electricity': 0} | {'Electricity': 87495536.78976393} | {'Electricity': 76840821.74457176} | {'Electricity': 96033405.87249412}