## cost_matrix1
| label | costs_total | costs_om_total | costs_investment_over_lifetime | costs_upfront_in_year_zero | Replacement_costs_during_project_lifetime | costs_dispatch | costs_cost_om | annuity_total | annuity_om | levelized_cost_of_energy_of_asset
0 | ESS Li-Ion storage capacity | 15068277.8434 | 106946.8277 | 14961331.0157 | 12236216.8 | 2725114.2157 | 0 | 106946.8277 | 1293016.7154 | 9177.1626 | 0.00906
0 | ESS Li-Ion input power | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | ESS Li-Ion output power | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | Charge Contoller ESS Li-Ion (charge) | 763827.8239 | 0 | 763827.8239 | 438235.6132 | 325592.2107 | 0 | 0 | 65544.4606 | 0 | 0.00557
0 | Charge Contoller ESS Li-Ion (discharge) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | Solar inverter | 3957907.9236 | 1021382.12 | 2936525.8035 | 2191133.2 | 745392.6035 | 0 | 1021382.12 | 339630.126 | 87645.328 | 0.00966
0 | Electricity grid_consumption_period | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | PV si | 50958912.1094 | 19564540.9457 | 31394371.1637 | 31394371.1637 | 0 | 0 | 19564540.9457 | 4372810.6051 | 1678843.3777 | 0.11743
0 | Electricity grid_consumption_source | 40449307.6571 | 40449307.6571 | 0 | 0 | 0 | 40449307.6571 | 0 | 3470976.0113 | 3470976.0113 | 0.3088
0 | Electricity demand | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | ESS Li-Ion bus_excess_sink | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | Electricity bus_excess_sink | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | PV bus_excess_sink | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | Electricity grid_feedin_sink_sink | -8553360.8113 | -8553360.8113 | 0 | 0 | 0 | -8553360.8113 | 0 | -733968.3152 | -733968.3152 | -0.1

## scalar_matrix1
| label | unit | installedCap | optimizedAddCap | total_flow | annual_total_flow | peak_flow | average_flow | Total emissions
0 | ESS Li-Ion storage capacity | kWh | 0 | 61181.084 | 142706898.185 | 142706898.185 | 48944.868 | 16290.7418
0 | ESS Li-Ion input power | kW | 0 | 61181.084 | 11720731.2627 | 11720731.2627 | 9959.9003 | 1337.983
0 | ESS Li-Ion output power | kW | 0 | 61181.084 | 9493792.3425 | 9493792.3425 | 7747.3919 | 1083.7662
0 | Charge Contoller ESS Li-Ion (charge) | kW | 0 | 9959.9003 | 11769598.8921 | 11769598.8921 | 9959.9003 | 1343.5615
0 | Charge Contoller ESS Li-Ion (discharge) | kW | 0 | 9959.9003 | 9542659.972 | 9542659.972 | 9959.9003 | 1089.3447
0 | Solar inverter | kW | 0 | 21911.332 | 35159632.6432 | 35159632.6432 | 21911.332 | 4013.6567
0 | Electricity grid_consumption_period | ? | 0 | 7747.3919 | 11240207.2904 | 11240207.2904 | 7747.3919 | 1283.1287
0 | PV si | kWp | 0 | 33576.8676 | 37236592.6789 | 37236592.6789 | 27058.834 | 4250.7526 | 0
0 | Electricity grid_consumption_source | ? | 0 | 7747.3919 | 11240207.2904 | 11240207.2904 | 7747.3919 | 1283.1287 | 3799190.0641
0 | Electricity demand | kW | 0 | 0 | 36833217.8934 | 36833217.8934 | 7747.3919 | 4204.7052
0 | ESS Li-Ion bus_excess_sink | ? | 0 | 0 | 0 | 0 | 0 | 0
0 | Electricity bus_excess_sink | ? | 0 | 0 | 0 | 0 | 0 | 0
0 | PV bus_excess_sink | ? | 0 | 3994.2732 | 226452.9766 | 226452.9766 | 3994.2732 | 25.8508
0 | Electricity grid_feedin_sink_sink | ? | 0 | 17626.522 | 7339683.1519 | 7339683.1519 | 17626.522 | 837.8634

## scalars1
| 0 | unit
Attributed costsElectricity | 102644872.546 | EUR
Degree of NZE | 1
Degree of autonomy | 1.011 | EUR
Levelized costs of electricity equivalent | 0.23913 | EUR
Levelized costs of electricity equivalentElectricity | 0.23913 | EUR
Onsite energy fraction | 0.80289 | NA
Onsite energy matching | 0.80554 | EUR
Renewable factor | 0.79132 | EUR
Renewable share of local generation | 1 | EUR/year
Replacement_costs_during_project_lifetime | 3796099.0299 | EUR/year
Specific emissions per electricity equivalent | 0.10315 | NA
Total emissions | 3799190.0641 | NA
Total internal generation | 37236592.6789 | NA
Total internal non-renewable generation | 0 | NA
Total internal renewable generation | 37236592.6789 | NA
Total non-renewable energy use | 10116186.5614 | NA
Total renewable energy use | 38360613.4079 | NA
Total_demandElectricity | 36833217.8934 | NA
Total_demandElectricity_electricity_equivalent | 36833217.8934 | NA
Total_demand_electricity_equivalent | 36833217.8934 | NA
Total_excessElectricity | 226452.9766 | NA
Total_excessElectricity_electricity_equivalent | 226452.9766 | NA
Total_excess_electricity_equivalent | 226452.9766 | NA
Total_feedinElectricity | 7339683.1519 | NA
Total_feedinElectricity_electricity_equivalent | 7339683.1519 | NA
Total_feedin_electricity_equivalent | 7339683.1519 | NA
annuity_om | 4512673.5644 | NA
annuity_total | 8808009.6032 | NA
costs_cost_om | 20692869.8934 | NA
costs_dispatch | 31895946.8458 | NA
costs_investment_over_lifetime | 50056055.8068 | NA
costs_om_total | 52588816.7393 | NA
costs_total | 102644872.546 | NA
costs_upfront_in_year_zero | 46259956.7769 | NA

## KPI individual sectors
| Renewable factor | Renewable share of local generation | Total internal non-renewable generation | Total internal non-renewable generation_electricity_equivalent | Total internal renewable generation | Total internal renewable generation_electricity_equivalent | Total non-renewable energy use | Total non-renewable energy use_electricity_equivalent | Total renewable energy use | Total renewable energy use_electricity_equivalent
0 | {'Electricity': 0.7913190109955652} | {'Electricity': 1.0} | {'Electricity': 0} | {'Electricity': 0} | {'Electricity': 37236592.67885471} | {'Electricity': 37236592.67885471} | {'Electricity': 10116186.561352488} | {'Electricity': 10116186.561352488} | {'Electricity': 38360613.407893874} | {'Electricity': 38360613.407893874}