## cost_matrix1
| label | costs_total | costs_om_total | costs_investment_over_lifetime | costs_upfront_in_year_zero | Replacement_costs_during_project_lifetime | costs_dispatch | costs_cost_om | annuity_total | annuity_om | levelized_cost_of_energy_of_asset
0 | ESS Li-Ion storage capacity | 15136942.7049 | 107434.1753 | 15029508.5296 | 12291976.2 | 2737532.3296 | 0 | 107434.1753 | 1298908.8826 | 9218.9821 | 0.00912
0 | ESS Li-Ion input power | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | ESS Li-Ion output power | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | Charge Contoller ESS Li-Ion (charge) | 741013.8913 | 0 | 741013.8913 | 425146.436 | 315867.4553 | 0 | 0 | 63586.7853 | 0 | 0.00557
0 | Charge Contoller ESS Li-Ion (discharge) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | Solar inverter | 3908814.4242 | 1008712.997 | 2900101.4272 | 2163954.6 | 736146.8272 | 0 | 1008712.997 | 335417.3875 | 86558.184 | 0.00961
0 | Electricity grid_consumption_period | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | PV si | 50958911.6343 | 19564540.7633 | 31394370.871 | 31394370.871 | 0 | 0 | 19564540.7633 | 4372810.5643 | 1678843.3621 | 0.11838
0 | Electricity grid_consumption_source | 41943469.916 | 41943469.916 | 0 | 0 | 0 | 41943469.916 | 0 | 3599190.8475 | 3599190.8475 | 0.3088
0 | Electricity demand | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | ESS Li-Ion bus_excess_sink | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | Electricity bus_excess_sink | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | PV bus_excess_sink | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | Electricity grid_feedin_sink_sink | -8579540.8086 | -8579540.8086 | 0 | 0 | 0 | -8579540.8086 | 0 | -736214.8343 | -736214.8343 | -0.1

## scalar_matrix1
| label | unit | installedCap | optimizedAddCap | total_flow | annual_total_flow | peak_flow | average_flow | Total emissions
0 | ESS Li-Ion storage capacity | kWh | 0 | 61459.881 | 142414348.6801 | 142414348.6801 | 49167.905 | 16257.3457
0 | ESS Li-Ion input power | kW | 0 | 61459.881 | 11359909.6132 | 11359909.6132 | 9662.419 | 1296.7933
0 | ESS Li-Ion output power | kW | 0 | 61459.881 | 9201526.8014 | 9201526.8014 | 7791.1047 | 1050.4026
0 | Charge Contoller ESS Li-Ion (charge) | kW | 0 | 9662.419 | 11413855.5811 | 11413855.5811 | 9662.419 | 1302.9515
0 | Charge Contoller ESS Li-Ion (discharge) | kW | 0 | 9662.419 | 9255472.7693 | 9255472.7693 | 9662.419 | 1056.5608
0 | Solar inverter | kW | 0 | 21639.546 | 34886799.0541 | 34886799.0541 | 21639.546 | 3982.5113
0 | Electricity grid_consumption_period | ? | 0 | 7791.1047 | 11655410.7756 | 11655410.7756 | 7791.1047 | 1330.5263
0 | PV si | kWp | 0 | 33576.8672 | 36937825.3906 | 36937825.3906 | 27402.746 | 4216.6467 | 0
0 | Electricity grid_consumption_source | ? | 0 | 7791.1047 | 11655410.7756 | 11655410.7756 | 7791.1047 | 1330.5263 | 3939528.8422
0 | Electricity demand | kW | 0 | 0 | 37021678.6256 | 37021678.6256 | 7791.1047 | 4226.219
0 | ESS Li-Ion bus_excess_sink | ? | 0 | 0 | 0 | 0 | 0 | 0
0 | Electricity bus_excess_sink | ? | 0 | 0 | 0 | 0 | 0 | 0
0 | PV bus_excess_sink | ? | 0 | 4624.2765 | 214879.0481 | 214879.0481 | 4624.2765 | 24.5296
0 | Electricity grid_feedin_sink_sink | ? | 0 | 17330.559 | 7362148.3431 | 7362148.3431 | 17330.559 | 840.4279

## scalars1
| 0 | unit
Attributed costsElectricity | 104109611.7621 | EUR
Degree of NZE | 1
Degree of autonomy | 0.99774 | EUR
Levelized costs of electricity equivalent | 0.24131 | EUR
Levelized costs of electricity equivalentElectricity | 0.24131 | EUR
Onsite energy fraction | 0.80069 | NA
Onsite energy matching | 0.79307 | EUR
Renewable factor | 0.78413 | EUR
Renewable share of local generation | 1 | EUR/year
Replacement_costs_during_project_lifetime | 3789546.6121 | EUR/year
Specific emissions per electricity equivalent | 0.10641 | NA
Total emissions | 3939528.8422 | NA
Total internal generation | 36937825.3906 | NA
Total internal non-renewable generation | 0 | NA
Total internal renewable generation | 36937825.3906 | NA
Total non-renewable energy use | 10489869.6981 | NA
Total renewable energy use | 38103366.4682 | NA
Total_demandElectricity | 37021678.6255 | NA
Total_demandElectricity_electricity_equivalent | 37021678.6255 | NA
Total_demand_electricity_equivalent | 37021678.6255 | NA
Total_excessElectricity | 214879.0481 | NA
Total_excessElectricity_electricity_equivalent | 214879.0481 | NA
Total_excess_electricity_equivalent | 214879.0481 | NA
Total_feedinElectricity | 7362148.3431 | NA
Total_feedinElectricity_electricity_equivalent | 7362148.3431 | NA
Total_feedin_electricity_equivalent | 7362148.3431 | NA
annuity_om | 4637596.5415 | NA
annuity_total | 8933699.6329 | NA
costs_cost_om | 20680687.9356 | NA
costs_dispatch | 33363929.1073 | NA
costs_investment_over_lifetime | 50064994.7191 | NA
costs_om_total | 54044617.0429 | NA
costs_total | 104109611.7621 | NA
costs_upfront_in_year_zero | 46275448.107 | NA

## KPI individual sectors
| Renewable factor | Renewable share of local generation | Total internal non-renewable generation | Total internal non-renewable generation_electricity_equivalent | Total internal renewable generation | Total internal renewable generation_electricity_equivalent | Total non-renewable energy use | Total non-renewable energy use_electricity_equivalent | Total renewable energy use | Total renewable energy use_electricity_equivalent
0 | {'Electricity': 0.7841290161825951} | {'Electricity': 1.0} | {'Electricity': 0} | {'Electricity': 0} | {'Electricity': 36937825.39060506} | {'Electricity': 36937825.39060506} | {'Electricity': 10489869.698079709} | {'Electricity': 10489869.698079709} | {'Electricity': 38103366.46816947} | {'Electricity': 38103366.46816947}